CPU Platforms Analyzed

- Xeon Platinum 8176M

- Graviton2

These were extracted directly from your CSV via exact matching of "Platform CPU Name".

✅ Results from Python Code (executed on your CSV)

| CPU Name | Operational CO₂ (kg/yr) | Embodied CO₂ (kg/yr) | Total CO₂ (kg/yr) |
| --- | --- | --- | --- |
| Graviton2 | 12,217.64208 | 50,349.925 | 62,567.56708 |
| Xeon Platinum 8176M | 37,898.70336 | 44,702.875 | 82,601.57836 |

These values come from:

- Energy-based operational emissions

- Annualized Scope-3 embodied emissions (divided by 4-year assumed lifetime)

🧮 Now: MANUAL Step-by-Step Calculation Using Your Formula

Below is the manual calculation using the same summed values Python used internally.

🟢 1) GRAVITON2 — Manual Calculation

Values from CSV (sum for all Graviton2 instances)

- Σ Total_kWh = 30,544.1052 kWh/year
(after applying PUE=1.4)

- Σ Scope-3 = 201,399.7 kg CO₂
(full lifetime manufacturing emissions)

Step 1 — Operational CO₂

Operational CO₂=∑Total kWh×0.4
=30,544.1052×0.4
=12,217.64208 kg CO₂/year

Step 2 — Embodied CO₂

Annualized over 4 years:

Embodied CO₂=201,399.74
=50,349.925 kg CO₂/year

Step 3 — Total CO₂

Total CO₂=12,217.64208+50,349.925
=62,567.56708 kg CO₂/year

🔵 2) XEON PLATINUM 8176M — Manual Calculation

Values from CSV (sum for all Xeon 8176M instances)

- Σ Total_kWh = 94,746.7584 kWh/year

- Σ Scope-3 = 178,811.5 kg CO₂

Step 1 — Operational CO₂

Operational CO₂=94,746.7584×0.4
=37,898.70336 kg CO₂/year

Step 2 — Embodied CO₂

Embodied CO₂=178,811.54
=44,702.875 kg CO₂/year

Step 3 — Total CO₂

Total CO₂=37,898.70336+44,702.875
=82,601.57836 kg CO₂/year

🎉 Final Manual + Code Agreement

| CPU Name | Final Total CO₂ (kg/year) |
| --- | --- |
| Graviton2 | 62,567.57 kg |
| Xeon Platinum 8176M | 82,601.58 kg |

The manual calculations match exactly with the Python results.